# Keystone RV Company	Page 1

1/20/2022

# Pre­Authorization

# 02:02:56 pm

Pre­Authorization numbe:r PA03026439 Reference no.: 66280	Status: Approved	Approved by: kiddz	Approved date: 1/18/2022

Servicing	Name	Address	VIN	Retail sold on

Dealer

1194	Basden's American RV	Basden's American RV	4YDT22023M3112202 6/19/2021

| Nu mbe r of |  | Root operation |  | Description |  | Sublet |  | Sub hours |  | Approved hours |  | Actual hours |  | Qty |  | Base hours |  | Complaint / Cause / Correction |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | 4150214B |  | A/C ­ GE ­ Inside |  | 0.00 |  | 0.40 |  | 0.40 |  |  |  | 1 |  | 0.50 |  | Complaint:CUSTOMER STATES THAT THE A/C DOES NOT COOL THE TRAILER DOWN VERY WELL OF A NIGHT. CUSTOMER SPOKE WITH SOMEONE IN OUR PARTS DEPARTMENT AND WAS ADVISED THAT THE CEILING VENTS COULD BE CHANGED TO VENTS THAT CAN BE OPEN AND CLOSED. CUSTOMER WOULD LIKE TO HAVE THE VENTS THAT ARE CURRENTLY IN HIS CAMPER TO THE VENTS THAT CAN BE OPENED AND CLOSED. Cause:NO DIVIDER Correction:found that the return air was getting air in from the discharge and that will cause the ac to freeze up and not cool properly i taped up the divider in the plenium . |
| 2 |  | 2315015A |  | Window ­ 47" or L |  | 0.00 |  | 0.30 |  | 0.30 |  |  |  | 1 |  | 0.50 |  | Complaint:WATER LEAK ON COUNTERTOP. LOOKS LIKE WATER FROMT WINDOW Cause:found gap in the sealant on the range hood vent Correction:sealed the range hood vent and also sealed the window . |

600 E Baseline Rd Evansville, IN 47725

Pre­Authorization numbe:r PA03026439	0.70

For paper claims only use one pre­authorization number per warranty claim for

Staple a copy of this pre­authorization to a warranty claim form. Fill out the header information and the parts section on the claim form. The labor section does not need to be filled out on the claim form. Fill in the amount of hours used for the repair ­ up to the amount authorized on the pre­authorization form and return toKeystone RV Company